{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["管材清单 B","管材清单C"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"管材清单 B","index":0,"n_rows":40,"n_cols":7,"rows_kept":40,"merged":[[0,0,0,6],[38,0,38,4],[39,0,39,6]],"flags":["formulas_cached_only"]}
["新沂市2018年度小型农田水利重点县项目B标段（管材采购）\n货物需求及报价表"]
["序号","项目名称","单位","数量","单价（元）","合价（元）","备注"]
["一","阿湖镇"]
["（一）","小管出流"]
[1,"干管(PVC-U 0.8Mpa)DN315","m",{"v":1020,"d":"1020.00"}]
[2,"干管(PVC-U 0.8Mpa)DN200","m",{"v":1120,"d":"1120.00"}]
[3,"干管(PVC-U 0.8Mpa)DN90","m",{"v":4155,"d":"4155.00"}]
[4,"干管(PVC-U 0.8Mpa)DN63","m",{"v":3285,"d":"3285.00"}]
[5,"出地管(PE63 0.8Mpa)DN50","m",{"v":486,"d":"486.00"}]
[6,"PE毛管(PE63 0.8Mpa)DN25","m",{"v":202913,"d":"202913.00"}]
[7,"PE辅管(PE63 0.8Mpa)DN50","m",{"v":11595,"d":"11595.00"}]
[8,"PE毛管DN4","m",{"v":169094,"d":"169094.00"}]
["（二）","管道灌溉"]
[1,"干管(PVC-U 0.8Mpa)DN315","m",{"v":1450,"d":"1450.00"}]
[2,"干管(PVC-U 0.8Mpa)DN90","m",{"v":5570,"d":"5570.00"}]
[3,"出地管(PE63 0.8Mpa)DN50","m",{"v":285,"d":"285.00"}]
[4,"PE辅管(PE63 0.8Mpa)DN50","m",{"v":5570,"d":"5570.00"}]
["二","棋盘镇"]
["（一）","滴灌"]
[1,"干管(PVC-U 0.8Mpa)DN160","m",{"v":870,"d":"870.00"}]
[2,"干管(PVC-U 0.8Mpa)DN63","m",{"v":3910,"d":"3910.00"}]
[3,"出地管(PE63 0.8Mpa)DN50","m",{"v":432,"d":"432.00"}]
[4,"PE辅管(PE63 0.8Mpa)DN50","m",{"v":7820,"d":"7820.00"}]
["（二）","管道灌溉"]
[1,"干管(PVC-U 0.8Mpa)DN90","m",{"v":90,"d":"90.00"}]
[2,"干管(PVC-U 0.8Mpa)DN63","m",{"v":750,"d":"750.00"}]
[3,"出地管(PE63 0.8Mpa)DN32","m",{"v":750,"d":"750.00"}]
["（三）","小管出流"]
[1,"干管(PVC-U 0.8Mpa)DN200","m",{"v":320,"d":"320.00"}]
[2,"干管(PVC-U 0.8Mpa)DN160","m",{"v":2805,"d":"2805.00"}]
[3,"干管(PVC-U 0.8Mpa)DN90","m",{"v":4915,"d":"4915.00"}]
[4,"干管(PVC-U 0.8Mpa)DN63","m",{"v":25120,"d":"25120.00"}]
[5,"出地管(PE63 0.8Mpa)DN50","m",{"v":1908,"d":"1908.00"}]
[6,"PE辅管(PE63 0.8Mpa)DN50","m",{"v":47020,"d":"47020.00"}]
[7,"PE毛管(PE63 0.8Mpa)DN25","m",{"v":600400,"d":"600400.00"}]
[8,"PE毛管DN4","m",{"v":300200,"d":"300200.00"}]
["三","管材检测费用","项",1]
["四","备用金","项",1,null,{"v":20000,"d":"20000.00"}]
["投标报价总金额=一～四项合计"]
["备注：1、管材检测费用按管材价格之和的1％计取，该费用由招标人掌握使用。\n2、备用金指用于在签订协议书时尚未确定或不可预见变更的工程材料、服务等的金额，此项费用由招标人掌握使用。"]

{"sheet":"管材清单C","index":1,"n_rows":45,"n_cols":7,"rows_kept":45,"merged":[[0,0,0,6],[43,0,43,4],[44,0,44,6]],"flags":["formulas_cached_only"]}
["新沂市2018年度小型农田水利重点县项目C标段（管材采购）\n货物需求及报价表"]
["序号","项目名称","单位","数量","单价（元）","合价（元）","备注"]
["一","草桥镇"]
["（一）","喷灌"]
[1,"干管(PVC-U 0.8Mpa)DN200","m",{"v":580,"d":"580.00"}]
[2,"干管(PVC-U 0.8Mpa)DN160","m",{"v":1010,"d":"1010.00"}]
[3,"干管(PVC-U 0.8Mpa)DN90","m",{"v":5600,"d":"5600.00"}]
["（二）","微灌"]
[1,"干管(PVC-U 0.8Mpa)DN200","m",{"v":580,"d":"580.00"}]
[2,"干管(PVC-U 0.8Mpa)DN90","m",{"v":2400,"d":"2400.00"}]
[3,"PE管(PE63 0.8Mpa)DN32","m",{"v":19200,"d":"19200.00"}]
[4,"PE管(PE63 0.8Mpa)DN25","m",{"v":10800,"d":"10800.00"}]
["二","马陵山镇"]
["（一）","滴灌"]
[1,"干管(PVC-U 0.8Mpa)DN315","m",{"v":1670,"d":"1670.00"}]
[2,"干管(PVC-U 0.8Mpa)DN90","m",{"v":340,"d":"340.00"}]
[3,"干管(PVC-U 0.8Mpa)DN160","m",{"v":5390,"d":"5390.00"}]
[4,"干管(PVC-U 0.8Mpa)DN63","m",{"v":1040,"d":"1040.00"}]
[5,"出地管(PE63 0.8Mpa)DN50","m",{"v":402,"d":"402.00"}]
[6,"PE辅管(PE63 0.8Mpa)DN50","m",{"v":7470,"d":"7470.00"}]
["（二）","微喷灌"]
[1,"干管(PVC-U 0.8Mpa)DN315","m",{"v":1870,"d":"1870.00"}]
[2,"干管(PVC-U 0.8Mpa)DN110","m",{"v":180,"d":"180.00"}]
[3,"干管(PVC-U 0.8Mpa)DN160","m",{"v":5220,"d":"5220.00"}]
[4,"干管(PVC-U 0.8Mpa)DN90","m",{"v":780,"d":"780.00"}]
[5,"出地管(PE63 0.8Mpa)DN50","m",{"v":375,"d":"375.00"}]
[6,"PE辅管(PE63 0.8Mpa)DN50","m",{"v":6000,"d":"6000.00"}]
["（三）","小管出流"]
[1,"干管(PVC-U 0.8Mpa)DN160","m",{"v":510,"d":"510.00"}]
[2,"干管(PVC-U 0.8Mpa)DN90","m",{"v":3940,"d":"3940.00"}]
[3,"干管(PVC-U 0.8Mpa)DN63","m",{"v":16050,"d":"16050.00"}]
[4,"出地管(PE63 0.8Mpa)DN50","m",{"v":1332,"d":"1332.00"}]
[5,"PE辅管(PE63 0.8Mpa)DN50","m",{"v":27660,"d":"27660.00"}]
[6,"PE毛管(PE63 0.8Mpa)DN25","m",{"v":346350,"d":"346350.00"}]
[7,"PE毛管DN4","m",{"v":173175,"d":"173175.00"}]
["三","双塘镇"]
["（一）","滴灌"]
[1,"干管(PVC-U 0.8Mpa)DN90","m",{"v":4630,"d":"4630.00"}]
[2,"干管(PVC-U 0.8Mpa)DN63","m",{"v":15121,"d":"15121.00"}]
[3,"出地管(PE63 0.8Mpa)DN50","m",{"v":1647,"d":"1647.00"}]
[4,"PE辅管(PE63 0.8Mpa)DN50","m",{"v":27912,"d":"27912.00"}]
["四","管材检测费用","项",1]
["五","备用金","项",1,null,{"v":20000,"d":"20000.00"}]
["投标报价总金额=一～五项合计"]
["备注：1、管材检测费用按管材价格之和的1％计取，该费用由招标人掌握使用。\n2、备用金指用于在签订协议书时尚未确定或不可预见变更的工程材料、服务等的金额，此项费用由招标人掌握使用。"]