{"text_format":"3","workbook":"xls","n_sheets":10,"sheets":["1.1 封-1 封面","1.2 扉-1 扉页","3.1 表-08 分部分项工程和单价措施项目清单与计价表","3.2 表-11 总价措施项目清单与计价表","3.3 表-12 其他项目清单与计价汇总表","3.4 表-13 规费、税金项目计价表","4.1 表-08 分部分项工程和单价措施项目清单与计价表","4.2 表-11 总价措施项目清单与计价表","4.3 表-12 其他项目清单与计价汇总表","4.4 表-13 规费、税金项目计价表"],"not_rendered":{"external_links":1,"defined_names":10},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"1.1 封-1 封面","index":0,"n_rows":19,"n_cols":7,"rows_kept":19,"merged":[[1,2,2,5],[1,6,2,7],[5,0,5,8],[10,4,11,6],[11,1,11,3],[12,4,12,6],[14,4,15,6],[15,1,15,3],[16,4,16,6],[18,3,18,4]],"flags":["formulas_cached_only"]}
[]
[null,null,"丰县2021年提质增效城区污水提升泵站改造",{"$nulls":3},"工程"]
[]
[]
[]
["招标工程量清单"]
[]
[]
[]
[]
[]
[null,"招  标  人："]
[{"$nulls":4},"（单位盖章）"]
[]
[]
[null,"造价咨询人："]
[{"$nulls":4},"（单位盖章）"]
[]
[{"$nulls":3},"2021年11月26日"]

{"sheet":"1.2 扉-1 扉页","index":1,"n_rows":20,"n_cols":8,"rows_kept":20,"merged":[[1,2,2,6],[1,7,2,7],[4,0,4,9],[7,1,7,2],[7,6,7,8],[8,6,8,8],[10,1,11,2],[10,3,11,3],[10,5,11,5],[11,6,11,8],[12,6,12,8],[15,1,15,2],[15,6,15,8],[16,6,16,8],[19,1,19,2],[19,6,19,8]],"flags":["formulas_cached_only"]}
[]
[null,null,"丰县2021年提质增效城区污水提升泵站改造",{"$nulls":4},"工程"]
[]
[]
["招标工程量清单"]
[]
[]
[null,"招  标  人：",{"$nulls":3},"造价咨询人："]
[{"$nulls":3},"（单位盖章）",null,null,"（单位资质专用章）"]
[]
[null,"法定代表人\n或其授权人：",{"$nulls":3},"法定代表人\n或其授权人："]
[]
[{"$nulls":3},"（签字或盖章）",null,null,"（签字或盖章）"]
[]
[]
[null,"编  制  人：",{"$nulls":3},"复  核  人："]
[{"$nulls":3},"（造价人员签字盖专用章）",null,null,"（造价工程师签字盖专用章）"]
[]
[]
[null,"编 制 时 间：",null,"2021年11月26日",null,"复 核 时 间：","2021年11月26日"]

{"sheet":"3.1 表-08 分部分项工程和单价措施项目清单与计价表","index":2,"n_rows":144,"n_cols":12,"rows_kept":144,"merged":[[0,0,0,11],[1,0,1,4],[1,5,1,9],[1,10,1,11],[2,0,4,0],[2,1,4,1],[2,2,4,3],[2,4,4,5],[2,6,4,6],[2,7,4,7],[2,8,2,11],[3,8,4,8],[3,9,4,10],[5,2,5,3],[5,4,5,5],[5,9,5,10],[6,2,6,3],[6,4,6,5],[6,9,6,10],[7,2,7,3],[7,4,7,5],[7,9,7,10],[8,2,8,3],[8,4,8,5],[8,9,8,10],[9,2,9,3],[9,4,9,5],[9,9,9,10],[10,0,13,0],[10,1,13,1],[10,2,13,3],[10,4,13,5],[10,6,13,6],[10,7,13,7],[10,8,13,8],[10,9,13,10],[10,11,13,11],[14,2,14,3],[14,4,14,5],[14,9,14,10],[15,2,15,3],[15,4,15,5],[15,9,15,10],[16,2,16,3],[16,4,16,5],[16,9,16,10],[17,2,17,3],[17,4,17,5],[17,9,17,10],[18,2,18,3],[18,4,18,5],[18,9,18,10],[19,0,19,8],[19,9,19,10],[21,3,21,11],[22,0,22,11],[23,0,23,4],[23,5,23,9],[23,10,23,11],[24,0,26,0],[24,1,26,1],[24,2,26,3],[24,4,26,5],[24,6,26,6],[24,7,26,7],[24,8,24,11],[25,8,26,8],[25,9,26,10],[27,0,30,0],[27,1,30,1],[27,2,30,3],[27,4,30,5],[27,6,30,6],[27,7,30,7],[27,8,30,8],[27,9,30,10],[27,11,30,11],[31,0,32,0],[31,1,32,1],[31,2,32,3],[31,4,32,5],[31,6,32,6],[31,7,32,7],[31,8,32,8],[31,9,32,10],[31,11,32,11],[33,0,35,0],[33,1,35,1],[33,2,35,3],[33,4,35,5],[33,6,35,6],[33,7,35,7],[33,8,35,8],[33,9,35,10],[33,11,35,11],[36,2,36,3],[36,4,36,5],[36,9,36,10],[37,2,37,3],[37,4,37,5],[37,9,37,10],[38,0,38,8],[38,9,38,10],[40,3,40,11],[41,0,41,11],[42,0,42,4],[42,5,42,9],[42,10,42,11],[43,0,45,0],[43,1,45,1],[43,2,45,3],[43,4,45,5],[43,6,45,6],[43,7,45,7],[43,8,43,11],[44,8,45,8],[44,9,45,10],[46,0,47,0],[46,1,47,1],[46,2,47,3],[46,4,47,5],[46,6,47,6],[46,7,47,7],[46,8,47,8],[46,9,47,10],[46,11,47,11],[48,0,49,0],[48,1,49,1],[48,2,49,3],[48,4,49,5],[48,6,49,6],[48,7,49,7],[48,8,49,8],[48,9,49,10],[48,11,49,11],[50,2,50,3],[50,4,50,5],[50,9,50,10],[51,0,54,0],[51,1,54,1],[51,2,54,3],[51,4,54,5],[51,6,54,6],[51,7,54,7],[51,8,54,8],[51,9,54,10],[51,11,54,11],[55,0,55,8],[55,9,55,10],[57,3,57,11],[58,0,58,11],[59,0,59,4],[59,5,59,9],[59,10,59,11],[60,0,62,0],[60,1,62,1],[60,2,62,3],[60,4,62,5],[60,6,62,6],[60,7,62,7],[60,8,60,11],[61,8,62,8],[61,9,62,10],[63,0,66,0],[63,1,66,1],[63,2,66,3],[63,4,66,5],[63,6,66,6],[63,7,66,7],[63,8,66,8],[63,9,66,10],[63,11,66,11],[67,2,67,3],[67,4,67,5],[67,9,67,10],[68,0,69,0],[68,1,69,1],[68,2,69,3],[68,4,69,5],[68,6,69,6],[68,7,69,7],[68,8,69,8],[68,9,69,10],[68,11,69,11],[70,0,71,0],[70,1,71,1],[70,2,71,3],[70,4,71,5],[70,6,71,6],[70,7,71,7],[70,8,71,8],[70,9,71,10],[70,11,71,11],[72,2,72,3],[72,4,72,5],[72,9,72,10],[73,2,73,3],[73,4,73,5],[73,9,73,10],[74,0,74,8],[74,9,74,10],[76,3,76,11],[77,0,77,11],[78,0,78,4],[78,5,78,9],[78,10,78,11],[79,0,81,0],[79,1,81,1],[79,2,81,3],[79,4,81,5],[79,6,81,6],[79,7,81,7],[79,8,79,11],[80,8,81,8],[80,9,81,10],[82,2,82,3],[82,4,82,5],[82,9,82,10],[83,0,85,0],[83,1,85,1],[83,2,85,3],[83,4,85,5],[83,6,85,6],[83,7,85,7],[83,8,85,8],[83,9,85,10],[83,11,85,11],[86,2,86,3],[86,4,86,5],[86,9,86,10],[87,2,87,3],[87,4,87,5],[87,9,87,10],[88,2,88,3],[88,4,88,5],[88,9,88,10],[89,2,89,3],[89,4,89,5],[89,9,89,10],[90,2,90,3],[90,4,90,5],[90,9,90,10],[91,2,91,3],[91,4,91,5],[91,9,91,10],[92,2,92,3],[92,4,92,5],[92,9,92,10],[93,2,93,5],[93,9,93,10],[94,2,94,3],[94,4,94,5],[94,9,94,10],[95,2,95,3],[95,4,95,5],[95,9,95,10],[96,2,96,3],[96,4,96,5],[96,9,96,10],[97,2,97,3],[97,4,97,5],[97,9,97,10],[98,2,98,3],[98,4,98,5],[98,9,98,10],[99,0,99,8],[99,9,99,10],[101,3,101,11],[102,0,102,11],[103,0,103,4],[103,5,103,9],[103,10,103,11],[104,0,106,0],[104,1,106,1],[104,2,106,3],[104,4,106,5],[104,6,106,6],[104,7,106,7],[104,8,104,11],[105,8,106,8],[105,9,106,10],[107,2,107,5],[107,9,107,10],[108,2,108,3],[108,4,108,5],[108,9,108,10],[109,2,109,3],[109,4,109,5],[109,9,109,10],[110,2,110,3],[110,4,110,5],[110,9,110,10],[111,2,111,3],[111,4,111,5],[111,9,111,10],[112,2,112,3],[112,4,112,5],[112,9,112,10],[113,2,113,3],[113,4,113,5],[113,9,113,10],[114,2,114,3],[114,4,114,5],[114,9,114,10],[115,2,115,3],[115,4,115,5],[115,9,115,10],[116,2,116,3],[116,4,116,5],[116,9,116,10],[117,2,117,3],[117,4,117,5],[117,9,117,10],[118,2,118,3],[118,4,118,5],[118,9,118,10],[119,2,119,3],[119,4,119,5],[119,9,119,10],[120,2,120,3],[120,4,120,5],[120,9,120,10],[121,2,121,3],[121,4,121,5],[121,9,121,10],[122,2,122,3],[122,4,122,5],[122,9,122,10],[123,2,123,3],[123,4,123,5],[123,9,123,10],[124,2,124,3],[124,4,124,5],[124,9,124,10],[125,2,125,3],[125,4,125,5],[125,9,125,10],[126,2,126,3],[126,4,126,5],[126,9,126,10],[127,2,127,3],[127,4,127,5],[127,9,127,10],[128,2,128,3],[128,4,128,5],[128,9,128,10],[129,2,129,3],[129,4,129,5],[129,9,129,10],[130,2,130,3],[130,4,130,5],[130,9,130,10],[131,2,131,3],[131,4,131,5],[131,9,131,10],[132,2,132,3],[132,4,132,5],[132,9,132,10],[133,2,133,3],[133,4,133,5],[133,9,133,10],[134,2,134,3],[134,4,134,5],[134,9,134,10],[135,2,135,3],[135,4,135,5],[135,9,135,10],[136,2,136,3],[136,4,136,5],[136,9,136,10],[137,2,137,3],[137,4,137,5],[137,9,137,10],[138,2,138,3],[138,4,138,5],[138,9,138,10],[139,2,139,3],[139,4,139,5],[139,9,139,10],[140,0,140,8],[140,9,140,10],[141,0,141,8],[141,9,141,10],[143,3,143,11]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：土建",{"$nulls":4},"标段：",{"$nulls":4},"第1页 共6页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["1","010505001002","有梁板",null,"1、混凝土种类：非泵送\n2、混凝土强度等级：C30\n3、厚度130mm",null,"m3","5.26"]
["2","010505001003","有梁板",null,"1、混凝土种类：非泵送\n2、混凝土强度等级：C30\n3、厚度120mm",null,"m3","19.82"]
["3","010505001004","有梁板",null,"亭子\n1、混凝土种类：非泵送\n2、混凝土强度等级：C30\n3、厚度150mm",null,"m3","7.88"]
["4","010503004001","圈梁",null,"1、混凝土种类：非泵送\n2、混凝土强度等级：C30",null,"m3","3.07"]
["5","010515001001","现浇构件钢筋",null,"1、钢筋种类、规格：三级钢筋",null,"t","4.55"]
["6","010901001001","瓦屋面",null,"坡屋面\n1、水泥瓦,规格420X330X25(拱高60),用钢钉或镀锌自攻螺丝固定,檐口设置檐口挡篦(根据屋面坡度及厂家要求选用抗风搭扣)\n2、Z型钢挂瓦条\n3、顺水条25X12(h),@500\n4、空铺防水卷材一层(冷贴自粘聚合物改性沥青聚酯胎防水卷3mmGB/TGB23441-2009)\n5、钢筋混凝土屋面板表面清理干净。\n6、单组份聚氨酯密封胶",null,"m2","213.75"]
{"$rows_empty":8}
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：土建",{"$nulls":4},"标段：",{"$nulls":4},"第2页 共6页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["7","010901001002","瓦屋面",null,"亭子\n1、水泥瓦,规格420X330X25(拱高60),用钢钉或镀锌自攻螺丝固定,檐口设置檐口挡篦(根据屋面坡度及厂家要求选用抗风搭扣)\n2、Z型钢挂瓦条\n3、顺水条25X12(h),@500\n4、空铺防水卷材一层(冷贴自粘聚合物改性沥青聚酯胎防水卷3mmGB/TGB23441-2009)\n5、钢筋混凝土屋面板表面清理干净。",null,"m2","69.17"]
[]
[]
[]
["8","010902007001","屋面天沟、檐沟",null,"1、空铺防水卷材一层(冷贴自粘聚合物改性沥青聚酯胎防水卷3mmGB/TGB23441-2009)\n2、钢筋混凝土屋面板表面清理干净。\n3、水泥钉@500\n4、垫片20*20*0.7\n5、单组份聚氨酯密封胶",null,"m2","135.33"]
[]
["9","011102003001","块料楼地面",null,"首层地面、维修间、储备间、值班室、卫生间\n1、10厚防滑地面砖，干水泥擦缝\n2、 20厚1:2干硬性水泥砂浆结合层，表面撒水泥粉\n3、1.0mm厚聚合物水泥防水涂料(JSII型)上翻至完成面300mm防水附加层,在阴阳角处、管根地漏周边涂刷1mm厚聚合物水泥防水涂料II型500宽",null,"m2","98.63"]
[]
[]
[]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：土建",{"$nulls":4},"标段：",{"$nulls":4},"第3页 共6页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["10","011102003002","块料楼地面",null,"楼面1、二层\n办公室、走道、公共活动空间、休息室\n1、10厚防滑地面砖,干水泥浆擦缝\n2、撒素水泥面(洒适量清水)\n3、20厚1:2干硬性水泥砂浆结合层\n4、刷素水泥浆(或界面剂)一道",null,"m2","125.16"]
[]
["11","011105003001","块料踢脚线",null,"1、8厚地砖素水泥擦缝\n2、5厚1:1水泥细砂结合层\n3、10厚1:3水泥砂浆找平层\n4、基层墙体,刷界面处理剂一道",null,"m","135.16"]
[]
["12","011101003003","细石混凝土楼地面",null,"一层设备间\n1、混凝土地面\n2、 随打随抹\n3、混凝土强度C20\n4、厚度40mm",null,"m2","40"]
["13","011201002001","墙面装饰抹灰",null,"外墙\n1、喷(刷)真石漆,(真石漆不做腻子)\n2、 外墙柔性耐水腻子（粗一道。细腻子一道）\n2、门窗洞口涂刷1.0厚双组分II型聚合物水泥防水涂料,防水层压铝框边5mm,翻过洞口阳角侧边50mm\n3、7厚M15聚合物防水砂浆抹平\n4、8厚M15聚合物防水砂浆打底扫毛\n5、外挂抗裂、抗脱落网片:不同墙体材料交接处每边150宽\n6、喷浆工艺进行界面处理\n7、基层清扫干净,洒水湿润",null,"m2","536.69"]
[]
[]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：土建",{"$nulls":4},"标段：",{"$nulls":4},"第4页 共6页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["14","011201002002","墙面装饰抹灰",null,"除卫生间等水湿房间以外功能房间\n1、乳胶漆\n2、满刮腻子两遍细砂纸磨光\n3、5厚1:0.3:3水泥石灰膏砂浆抹灰\n4、10厚1:1:6水泥石灰膏砂浆抹灰\n5、墙体满拉毛或刷界面剂(墙体与砼交界处挂C0.6@15x15镀锌钢丝网300宽,每边搭接150mm,顶层砌筑墙体满挂网。\n6、墙体表面清理干净",null,"m2","568.63"]
[]
[]
[]
["15","011201002004","墙面装饰抹灰",null,"楼梯间\n1、乳胶漆墙面\n2、腻子乳胶漆二遍",null,"m2","43.2"]
["16","011201002003","墙面装饰抹灰",null,"设备间\n1、白色腻子批平(水暖井内墙面为耐水腻子)\n2、15厚水泥砂浆粉刷至板面(砼墙面取消,水暖井内墙面中水泥砂浆掺5%防水剂)\n3、墙体表面清理干净",null,"m2","84.3"]
[]
["17","011204003001","块料墙面",null,"卫生间\n1、5厚内墙面砖白水泥浆擦缝\n2、6厚1:1水泥砂浆结合层\n3、1.2厚JSII防水涂料\n4、12厚1:3水泥砂浆拉毛\n5、刷界面处理剂一道",null,"m2","12.94"]
[]
["18","011301001001","天棚抹灰",null,"一层、二层\n1、白色内墙腻子刮面磨平（腻子两遍）\n2、乳胶漆二遍",null,"m2","355.19"]
["19","010801002001","成品木门",null,"1、门代号及洞口尺寸：800*2100mm、1000*2400、1000*3000\n2、 包含五金安装\n3、详见图纸",null,"m2","20.58"]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：土建",{"$nulls":4},"标段：",{"$nulls":4},"第5页 共6页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["20","010802003001","钢质防火门",null,"1、门代号及洞口尺寸：1000*2100mm\n2、门框、扇材质：钢制甲级防火门\n3、详见图纸",null,"樘","1"]
["21","010804006001","钢质花饰大门",null,"1、门代号及洞口尺寸：3.4*3m\n2、门锁：三合一锁\n3、大门口安装门禁系统\n4、包括门禁电源、门禁读卡器、门禁锁、门禁开关、安装调试以及考勤、巡更管理功能等各种付配件，投标方根据现场实际情况考虑。\n5、详见图纸",null,"m2","10.2"]
[]
[]
["22","010807001001","塑钢窗",null,"1、塑钢中空玻璃窗\n2、6厚中空玻璃玻璃\n3、详大样图苏J50-2015",null,"m2","91.44"]
["23","011610002001","金属门窗拆除",null,"1、投标人自行考虑",null,"樘","22"]
["24","011407001001","墙面喷刷涂料",null,"1、景观墙（真石漆）\n2、灰色真石漆",null,"m2","368.5"]
["25","040203006001","沥青混凝土",null,"1、院内地面\n2、沥青地面7cm",null,"m2","146"]
["26","01B003","垃圾外运、清理外墙、",null,"1、投标人勘查现场自行报价",null,"项","1"]
["27","010401012001","零星砌砖",null,"1封堵商业门洞",null,"m3","9.79"]
["28","01B004","暂列金",null,"1、不可预见\n2、以工程实际发生为准",null,"项","1"]
[null,null,"分部分项合计",{"$nulls":4},""]
["1","011702014002","有梁板",null,"1、混凝土种类：非泵送\n2、混凝土强度等级：C30\n3、厚度130",null,"m2","42.45"]
["2","011702014003","有梁板",null,"1、混凝土种类：非泵送\n2、混凝土强度等级：C30\n3、厚度120",null,"m2","223.54"]
["3","011702008001","圈梁",null,"1、混凝土种类：非泵送\n2、混凝土强度等级：C30",null,"m2","25.57"]
["4","011701002001","外脚手架",{"$nulls":3},"m2","536.69"]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：土建",{"$nulls":4},"标段：",{"$nulls":4},"第6页 共6页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
[null,null,"单价措施合计",{"$nulls":4},""]
{"$rows_empty":32}
["本页小计"]
["合    计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]

{"sheet":"3.2 表-11 总价措施项目清单与计价表","index":3,"n_rows":76,"n_cols":14,"rows_kept":76,"merged":[[0,0,0,14],[1,0,1,6],[1,7,1,11],[1,12,1,14],[2,2,2,4],[2,6,2,7],[2,8,2,9],[2,11,2,12],[2,13,2,14],[3,2,3,4],[3,6,3,7],[3,8,3,9],[3,11,3,12],[3,13,3,14],[4,2,4,4],[4,6,4,7],[4,8,4,9],[4,11,4,12],[4,13,4,14],[5,2,5,4],[5,6,5,7],[5,8,5,9],[5,11,5,12],[5,13,5,14],[6,2,6,4],[6,6,6,7],[6,8,6,9],[6,11,6,12],[6,13,6,14],[7,2,7,4],[7,6,7,7],[7,8,7,9],[7,11,7,12],[7,13,7,14],[8,0,11,0],[8,1,11,1],[8,2,11,4],[8,5,11,5],[8,6,11,7],[8,8,11,9],[8,10,11,10],[8,11,11,12],[8,13,11,14],[12,2,12,4],[12,6,12,7],[12,8,12,9],[12,11,12,12],[12,13,12,14],[13,2,13,4],[13,6,13,7],[13,8,13,9],[13,11,13,12],[13,13,13,14],[14,2,14,4],[14,6,14,7],[14,8,14,9],[14,11,14,12],[14,13,14,14],[15,2,15,4],[15,6,15,7],[15,8,15,9],[15,11,15,12],[15,13,15,14],[16,0,16,14],[18,3,18,14],[19,0,19,3],[19,9,19,13],[20,0,20,14],[21,0,21,6],[21,7,21,11],[21,12,21,14],[22,2,22,4],[22,6,22,7],[22,8,22,9],[22,11,22,12],[22,13,22,14],[23,2,23,4],[23,6,23,7],[23,8,23,9],[23,11,23,12],[23,13,23,14],[24,2,24,4],[24,6,24,7],[24,8,24,9],[24,11,24,12],[24,13,24,14],[25,2,25,4],[25,6,25,7],[25,8,25,9],[25,11,25,12],[25,13,25,14],[26,2,26,4],[26,6,26,7],[26,8,26,9],[26,11,26,12],[26,13,26,14],[27,2,27,4],[27,6,27,7],[27,8,27,9],[27,11,27,12],[27,13,27,14],[28,0,29,0],[28,1,29,1],[28,2,29,4],[28,5,29,5],[28,6,29,7],[28,8,29,9],[28,10,29,10],[28,11,29,12],[28,13,29,14],[30,0,32,0],[30,1,32,1],[30,2,32,4],[30,5,32,5],[30,6,32,7],[30,8,32,9],[30,10,32,10],[30,11,32,12],[30,13,32,14],[33,2,33,4],[33,6,33,7],[33,8,33,9],[33,11,33,12],[33,13,33,14],[34,2,34,4],[34,6,34,7],[34,8,34,9],[34,11,34,12],[34,13,34,14],[35,2,35,4],[35,6,35,7],[35,8,35,9],[35,11,35,12],[35,13,35,14],[36,0,36,14],[37,3,37,14],[38,0,38,3],[38,9,38,13],[39,0,39,14],[40,0,40,6],[40,7,40,11],[40,12,40,14],[41,2,41,4],[41,6,41,7],[41,8,41,9],[41,11,41,12],[41,13,41,14],[42,0,44,0],[42,1,44,1],[42,2,44,4],[42,5,44,5],[42,6,44,7],[42,8,44,9],[42,10,44,10],[42,11,44,12],[42,13,44,14],[45,2,45,4],[45,6,45,7],[45,8,45,9],[45,11,45,12],[45,13,45,14],[46,2,46,4],[46,6,46,7],[46,8,46,9],[46,11,46,12],[46,13,46,14],[47,2,47,4],[47,6,47,7],[47,8,47,9],[47,11,47,12],[47,13,47,14],[48,2,48,4],[48,6,48,7],[48,8,48,9],[48,11,48,12],[48,13,48,14],[49,2,49,4],[49,6,49,7],[49,8,49,9],[49,11,49,12],[49,13,49,14],[50,2,50,4],[50,6,50,7],[50,8,50,9],[50,11,50,12],[50,13,50,14],[51,2,51,4],[51,6,51,7],[51,8,51,9],[51,11,51,12],[51,13,51,14],[52,2,52,4],[52,6,52,7],[52,8,52,9],[52,11,52,12],[52,13,52,14],[53,2,53,4],[53,6,53,7],[53,8,53,9],[53,11,53,12],[53,13,53,14],[54,2,54,4],[54,6,54,7],[54,8,54,9],[54,11,54,12],[54,13,54,14],[55,2,55,4],[55,6,55,7],[55,8,55,9],[55,11,55,12],[55,13,55,14],[56,2,56,4],[56,6,56,7],[56,8,56,9],[56,11,56,12],[56,13,56,14],[57,2,57,4],[57,6,57,7],[57,8,57,9],[57,11,57,12],[57,13,57,14],[58,2,58,4],[58,6,58,7],[58,8,58,9],[58,11,58,12],[58,13,58,14],[59,2,59,4],[59,6,59,7],[59,8,59,9],[59,11,59,12],[59,13,59,14],[60,2,60,4],[60,6,60,7],[60,8,60,9],[60,11,60,12],[60,13,60,14],[61,2,61,4],[61,6,61,7],[61,8,61,9],[61,11,61,12],[61,13,61,14],[62,2,62,4],[62,6,62,7],[62,8,62,9],[62,11,62,12],[62,13,62,14],[63,2,63,4],[63,6,63,7],[63,8,63,9],[63,11,63,12],[63,13,63,14],[64,2,64,4],[64,6,64,7],[64,8,64,9],[64,11,64,12],[64,13,64,14],[65,2,65,4],[65,6,65,7],[65,8,65,9],[65,11,65,12],[65,13,65,14],[66,2,66,4],[66,6,66,7],[66,8,66,9],[66,11,66,12],[66,13,66,14],[67,2,67,4],[67,6,67,7],[67,8,67,9],[67,11,67,12],[67,13,67,14],[68,2,68,4],[68,6,68,7],[68,8,68,9],[68,11,68,12],[68,13,68,14],[69,2,69,4],[69,6,69,7],[69,8,69,9],[69,11,69,12],[69,13,69,14],[70,2,70,4],[70,6,70,7],[70,8,70,9],[70,11,70,12],[70,13,70,14],[71,2,71,4],[71,6,71,7],[71,8,71,9],[71,11,71,12],[71,13,71,14],[72,0,72,14],[74,3,74,14],[75,0,75,3],[75,9,75,13]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称：土建",{"$nulls":6},"标段：",{"$nulls":4},"第1页 共3页"]
["序号","项目编码","项目名称",null,null,"计算基础","费率（%）",null,"金额（元）",null,"调整费率（%）","调整后金额（元）",null,"备注"]
["1","011707001001","安全文明施工费",{"$nulls":3},""]
["1.1",null,"基本费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","3.100"]
["1.2",null,"增加费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["1.3",null,"扬尘污染防治增加费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","0.310"]
["2","011707002001","夜间施工",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["3","011707003001","非夜间施工照明",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","",{"$nulls":6},"在计取非夜间施工照明费时，建筑工程、仿古工程、修缮土建部分仅地下室（地宫）部分可计取；单独装饰、安装工程、园林绿化工程、修缮安装部分仅特殊施工部位内施工项目可计取"]
[]
[]
[]
["4","011707004001","二次搬运",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["5","011707005001","冬雨季施工",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
[]
[]
[]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":8},"复核人（造价工程师）："]
["总价措施项目清单与计价表"]
["工程名称：土建",{"$nulls":6},"标段：",{"$nulls":4},"第2页 共3页"]
["序号","项目编码","项目名称",null,null,"计算基础","费率（%）",null,"金额（元）",null,"调整费率（%）","调整后金额（元）",null,"备注"]
["6","011707006001","地上、地下设施、建筑物的临时保护设施",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["7","011707007001","已完工程及设备保护",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["8","011707008001","临时设施",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["9","011707009001","赶工措施",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["10","011707010001","工程按质论价",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["11","011707011001","住宅分户验收",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","",{"$nulls":6},"在计取住宅分户验收时，大型土石方工程、桩基工程和地下室部分不计入计费基础"]
[]
["12","011707012001","建筑工人实名制费用",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","",{"$nulls":6},"建筑工人实名制设备由建筑工人工资专用账户开户银行提供的，建筑工人实名制费用按表中费率乘以0.5系数计取"]
[]
[]
["13","011707091001","特殊条件下施工增加费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
[]
[]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":8},"复核人（造价工程师）："]
["总价措施项目清单与计价表"]
["工程名称：土建",{"$nulls":6},"标段：",{"$nulls":4},"第3页 共3页"]
["序号","项目编码","项目名称",null,null,"计算基础","费率（%）",null,"金额（元）",null,"调整费率（%）","调整后金额（元）",null,"备注"]
["14","011707015001","智慧工地费用",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","",{"$nulls":6},"现场安全隐患排查、人员信息动态管理、扬尘管控视频监控、高处作业防护预警、危大工程监测预警和集成平台等设备、软件和管理费用。"]
{"$rows_empty":31}
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":8},"复核人（造价工程师）："]

{"sheet":"3.3 表-12 其他项目清单与计价汇总表","index":4,"n_rows":44,"n_cols":8,"rows_kept":44,"merged":[[0,0,0,7],[1,0,1,3],[1,4,1,6],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,1,40,2],[40,3,40,4],[40,6,40,7],[41,0,41,2],[41,3,41,4],[41,6,41,7],[43,2,43,7]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
["工程名称：土建",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目名称",null,"金额(元)",null,"结算金额(元)","备注"]
["1","暂列金额",null,30000]
["2","暂估价",null,""]
["2.1","材料暂估价",null,""]
["2.2","专业工程暂估价",null,""]
["3","计日工",null,""]
["4","总承包服务费",null,""]
["5",null,null,""]
{"$rows_empty":31}
["合  计",null,null,""]
[]
[null,null,"【新点2013清单造价江苏版 V10.3.5】"]

{"sheet":"3.4 表-13 规费、税金项目计价表","index":5,"n_rows":38,"n_cols":11,"rows_kept":38,"merged":[[0,0,0,11],[1,0,1,4],[1,5,1,8],[1,9,1,11],[2,1,2,2],[2,3,2,5],[2,6,2,7],[2,8,2,9],[2,10,2,11],[3,1,3,2],[3,3,3,5],[3,6,3,7],[3,8,3,9],[3,10,3,11],[4,1,4,2],[4,3,4,5],[4,6,4,7],[4,8,4,9],[4,10,4,11],[5,1,5,2],[5,3,5,5],[5,6,5,7],[5,8,5,9],[5,10,5,11],[6,1,6,2],[6,3,6,5],[6,6,6,7],[6,8,6,9],[6,10,6,11],[7,1,7,2],[7,3,7,5],[7,6,7,7],[7,8,7,9],[7,10,7,11],[8,1,8,2],[8,3,8,5],[8,6,8,7],[8,8,8,9],[8,10,8,11],[9,1,9,2],[9,3,9,5],[9,6,9,7],[9,8,9,9],[9,10,9,11],[10,1,10,2],[10,3,10,5],[10,6,10,7],[10,8,10,9],[10,10,10,11],[11,1,11,2],[11,3,11,5],[11,6,11,7],[11,8,11,9],[11,10,11,11],[12,1,12,2],[12,3,12,5],[12,6,12,7],[12,8,12,9],[12,10,12,11],[13,1,13,2],[13,3,13,5],[13,6,13,7],[13,8,13,9],[13,10,13,11],[14,1,14,2],[14,3,14,5],[14,6,14,7],[14,8,14,9],[14,10,14,11],[15,1,15,2],[15,3,15,5],[15,6,15,7],[15,8,15,9],[15,10,15,11],[16,1,16,2],[16,3,16,5],[16,6,16,7],[16,8,16,9],[16,10,16,11],[17,1,17,2],[17,3,17,5],[17,6,17,7],[17,8,17,9],[17,10,17,11],[18,1,18,2],[18,3,18,5],[18,6,18,7],[18,8,18,9],[18,10,18,11],[19,1,19,2],[19,3,19,5],[19,6,19,7],[19,8,19,9],[19,10,19,11],[20,1,20,2],[20,3,20,5],[20,6,20,7],[20,8,20,9],[20,10,20,11],[21,1,21,2],[21,3,21,5],[21,6,21,7],[21,8,21,9],[21,10,21,11],[22,1,22,2],[22,3,22,5],[22,6,22,7],[22,8,22,9],[22,10,22,11],[23,1,23,2],[23,3,23,5],[23,6,23,7],[23,8,23,9],[23,10,23,11],[24,1,24,2],[24,3,24,5],[24,6,24,7],[24,8,24,9],[24,10,24,11],[25,1,25,2],[25,3,25,5],[25,6,25,7],[25,8,25,9],[25,10,25,11],[26,1,26,2],[26,3,26,5],[26,6,26,7],[26,8,26,9],[26,10,26,11],[27,1,27,2],[27,3,27,5],[27,6,27,7],[27,8,27,9],[27,10,27,11],[28,1,28,2],[28,3,28,5],[28,6,28,7],[28,8,28,9],[28,10,28,11],[29,1,29,2],[29,3,29,5],[29,6,29,7],[29,8,29,9],[29,10,29,11],[30,1,30,2],[30,3,30,5],[30,6,30,7],[30,8,30,9],[30,10,30,11],[31,1,31,2],[31,3,31,5],[31,6,31,7],[31,8,31,9],[31,10,31,11],[32,1,32,2],[32,3,32,5],[32,6,32,7],[32,8,32,9],[32,10,32,11],[33,1,33,2],[33,3,33,5],[33,6,33,7],[33,8,33,9],[33,10,33,11],[34,0,34,9],[34,10,34,11],[36,2,36,11],[37,0,37,3],[37,7,37,10]],"flags":["formulas_cached_only"]}
["规费、税金项目计价表"]
["工程名称：土建",{"$nulls":4},"标段：",{"$nulls":3},"第1页 共1页"]
["序号","项目名称",null,"计算基础",null,null,"计算基数(元)",null,"计算费率(％)",null,"金额(元)"]
["1","规费",null,"环境保护税+社会保险费+住房公积金",{"$nulls":4},"100.000"]
["1.1","社会保险费",null,"分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},"3.200"]
["1.2","住房公积金",null,"分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},"0.530"]
["1.3","环境保护税",null,"分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},"0.100"]
["2","税金",null,"分部分项工程费+措施项目费+其他项目费+规费-除税甲供材料和甲供设备费/1.01",{"$nulls":4},"9.000"]
{"$rows_empty":26}
["合  计"]
[]
[null,null,"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":6},"复核人（造价工程师）："]

{"sheet":"4.1 表-08 分部分项工程和单价措施项目清单与计价表","index":6,"n_rows":256,"n_cols":12,"rows_kept":256,"merged":[[0,0,0,11],[1,0,1,4],[1,5,1,9],[1,10,1,11],[2,0,4,0],[2,1,4,1],[2,2,4,3],[2,4,4,5],[2,6,4,6],[2,7,4,7],[2,8,2,11],[3,8,4,8],[3,9,4,10],[5,2,5,5],[5,9,5,10],[6,0,7,0],[6,1,7,1],[6,2,7,3],[6,4,7,5],[6,6,7,6],[6,7,7,7],[6,8,7,8],[6,9,7,10],[6,11,7,11],[8,0,9,0],[8,1,9,1],[8,2,9,3],[8,4,9,5],[8,6,9,6],[8,7,9,7],[8,8,9,8],[8,9,9,10],[8,11,9,11],[10,2,10,3],[10,4,10,5],[10,9,10,10],[11,0,12,0],[11,1,12,1],[11,2,12,3],[11,4,12,5],[11,6,12,6],[11,7,12,7],[11,8,12,8],[11,9,12,10],[11,11,12,11],[13,0,14,0],[13,1,14,1],[13,2,14,3],[13,4,14,5],[13,6,14,6],[13,7,14,7],[13,8,14,8],[13,9,14,10],[13,11,14,11],[15,2,15,3],[15,4,15,5],[15,9,15,10],[16,0,16,8],[16,9,16,10],[18,3,18,11],[19,0,19,11],[20,0,20,4],[20,5,20,9],[20,10,20,11],[21,0,23,0],[21,1,23,1],[21,2,23,3],[21,4,23,5],[21,6,23,6],[21,7,23,7],[21,8,21,11],[22,8,23,8],[22,9,23,10],[24,2,24,3],[24,4,24,5],[24,9,24,10],[25,2,25,3],[25,4,25,5],[25,9,25,10],[26,2,26,3],[26,4,26,5],[26,9,26,10],[27,2,27,3],[27,4,27,5],[27,9,27,10],[28,2,28,3],[28,4,28,5],[28,9,28,10],[29,2,29,3],[29,4,29,5],[29,9,29,10],[30,2,30,3],[30,4,30,5],[30,9,30,10],[31,2,31,3],[31,4,31,5],[31,9,31,10],[32,2,32,3],[32,4,32,5],[32,9,32,10],[33,0,33,8],[33,9,33,10],[35,3,35,11],[36,0,36,11],[37,0,37,4],[37,5,37,9],[37,10,37,11],[38,0,40,0],[38,1,40,1],[38,2,40,3],[38,4,40,5],[38,6,40,6],[38,7,40,7],[38,8,38,11],[39,8,40,8],[39,9,40,10],[41,2,41,3],[41,4,41,5],[41,9,41,10],[42,2,42,3],[42,4,42,5],[42,9,42,10],[43,2,43,3],[43,4,43,5],[43,9,43,10],[44,2,44,3],[44,4,44,5],[44,9,44,10],[45,2,45,3],[45,4,45,5],[45,9,45,10],[46,2,46,3],[46,4,46,5],[46,9,46,10],[47,2,47,3],[47,4,47,5],[47,9,47,10],[48,0,49,0],[48,1,49,1],[48,2,49,3],[48,4,49,5],[48,6,49,6],[48,7,49,7],[48,8,49,8],[48,9,49,10],[48,11,49,11],[50,2,50,3],[50,4,50,5],[50,9,50,10],[51,2,51,3],[51,4,51,5],[51,9,51,10],[52,0,52,8],[52,9,52,10],[54,3,54,11],[55,0,55,11],[56,0,56,4],[56,5,56,9],[56,10,56,11],[57,0,59,0],[57,1,59,1],[57,2,59,3],[57,4,59,5],[57,6,59,6],[57,7,59,7],[57,8,57,11],[58,8,59,8],[58,9,59,10],[60,2,60,3],[60,4,60,5],[60,9,60,10],[61,2,61,3],[61,4,61,5],[61,9,61,10],[62,2,62,3],[62,4,62,5],[62,9,62,10],[63,2,63,3],[63,4,63,5],[63,9,63,10],[64,2,64,3],[64,4,64,5],[64,9,64,10],[65,2,65,3],[65,4,65,5],[65,9,65,10],[66,0,67,0],[66,1,67,1],[66,2,67,3],[66,4,67,5],[66,6,67,6],[66,7,67,7],[66,8,67,8],[66,9,67,10],[66,11,67,11],[68,2,68,3],[68,4,68,5],[68,9,68,10],[69,2,69,5],[69,9,69,10],[70,2,70,5],[70,9,70,10],[71,0,72,0],[71,1,72,1],[71,2,72,3],[71,4,72,5],[71,6,72,6],[71,7,72,7],[71,8,72,8],[71,9,72,10],[71,11,72,11],[73,0,73,8],[73,9,73,10],[75,3,75,11],[76,0,76,11],[77,0,77,4],[77,5,77,9],[77,10,77,11],[78,0,80,0],[78,1,80,1],[78,2,80,3],[78,4,80,5],[78,6,80,6],[78,7,80,7],[78,8,78,11],[79,8,80,8],[79,9,80,10],[81,2,81,3],[81,4,81,5],[81,9,81,10],[82,2,82,3],[82,4,82,5],[82,9,82,10],[83,2,83,3],[83,4,83,5],[83,9,83,10],[84,2,84,3],[84,4,84,5],[84,9,84,10],[85,2,85,3],[85,4,85,5],[85,9,85,10],[86,2,86,3],[86,4,86,5],[86,9,86,10],[87,2,87,3],[87,4,87,5],[87,9,87,10],[88,2,88,3],[88,4,88,5],[88,9,88,10],[89,2,89,5],[89,9,89,10],[90,2,90,5],[90,9,90,10],[91,0,92,0],[91,1,92,1],[91,2,92,3],[91,4,92,5],[91,6,92,6],[91,7,92,7],[91,8,92,8],[91,9,92,10],[91,11,92,11],[93,0,93,8],[93,9,93,10],[94,3,94,11],[95,0,95,11],[96,0,96,4],[96,5,96,9],[96,10,96,11],[97,0,99,0],[97,1,99,1],[97,2,99,3],[97,4,99,5],[97,6,99,6],[97,7,99,7],[97,8,97,11],[98,8,99,8],[98,9,99,10],[100,0,101,0],[100,1,101,1],[100,2,101,3],[100,4,101,5],[100,6,101,6],[100,7,101,7],[100,8,101,8],[100,9,101,10],[100,11,101,11],[102,0,103,0],[102,1,103,1],[102,2,103,3],[102,4,103,5],[102,6,103,6],[102,7,103,7],[102,8,103,8],[102,9,103,10],[102,11,103,11],[104,0,105,0],[104,1,105,1],[104,2,105,3],[104,4,105,5],[104,6,105,6],[104,7,105,7],[104,8,105,8],[104,9,105,10],[104,11,105,11],[106,0,107,0],[106,1,107,1],[106,2,107,3],[106,4,107,5],[106,6,107,6],[106,7,107,7],[106,8,107,8],[106,9,107,10],[106,11,107,11],[108,0,109,0],[108,1,109,1],[108,2,109,3],[108,4,109,5],[108,6,109,6],[108,7,109,7],[108,8,109,8],[108,9,109,10],[108,11,109,11],[110,0,111,0],[110,1,111,1],[110,2,111,3],[110,4,111,5],[110,6,111,6],[110,7,111,7],[110,8,111,8],[110,9,111,10],[110,11,111,11],[112,0,112,8],[112,9,112,10],[114,3,114,11],[115,0,115,11],[116,0,116,4],[116,5,116,9],[116,10,116,11],[117,0,119,0],[117,1,119,1],[117,2,119,3],[117,4,119,5],[117,6,119,6],[117,7,119,7],[117,8,117,11],[118,8,119,8],[118,9,119,10],[120,0,121,0],[120,1,121,1],[120,2,121,3],[120,4,121,5],[120,6,121,6],[120,7,121,7],[120,8,121,8],[120,9,121,10],[120,11,121,11],[122,0,123,0],[122,1,123,1],[122,2,123,3],[122,4,123,5],[122,6,123,6],[122,7,123,7],[122,8,123,8],[122,9,123,10],[122,11,123,11],[124,0,125,0],[124,1,125,1],[124,2,125,3],[124,4,125,5],[124,6,125,6],[124,7,125,7],[124,8,125,8],[124,9,125,10],[124,11,125,11],[126,2,126,3],[126,4,126,5],[126,9,126,10],[127,2,127,3],[127,4,127,5],[127,9,127,10],[128,2,128,3],[128,4,128,5],[128,9,128,10],[129,0,130,0],[129,1,130,1],[129,2,130,3],[129,4,130,5],[129,6,130,6],[129,7,130,7],[129,8,130,8],[129,9,130,10],[129,11,130,11],[131,0,132,0],[131,1,132,1],[131,2,132,3],[131,4,132,5],[131,6,132,6],[131,7,132,7],[131,8,132,8],[131,9,132,10],[131,11,132,11],[133,2,133,3],[133,4,133,5],[133,9,133,10],[134,0,134,8],[134,9,134,10],[136,3,136,11],[137,0,137,11],[138,0,138,4],[138,5,138,9],[138,10,138,11],[139,0,141,0],[139,1,141,1],[139,2,141,3],[139,4,141,5],[139,6,141,6],[139,7,141,7],[139,8,139,11],[140,8,141,8],[140,9,141,10],[142,0,143,0],[142,1,143,1],[142,2,143,3],[142,4,143,5],[142,6,143,6],[142,7,143,7],[142,8,143,8],[142,9,143,10],[142,11,143,11],[144,2,144,3],[144,4,144,5],[144,9,144,10],[145,0,146,0],[145,1,146,1],[145,2,146,3],[145,4,146,5],[145,6,146,6],[145,7,146,7],[145,8,146,8],[145,9,146,10],[145,11,146,11],[147,0,148,0],[147,1,148,1],[147,2,148,3],[147,4,148,5],[147,6,148,6],[147,7,148,7],[147,8,148,8],[147,9,148,10],[147,11,148,11],[149,2,149,3],[149,4,149,5],[149,9,149,10],[150,0,151,0],[150,1,151,1],[150,2,151,3],[150,4,151,5],[150,6,151,6],[150,7,151,7],[150,8,151,8],[150,9,151,10],[150,11,151,11],[152,0,153,0],[152,1,153,1],[152,2,153,3],[152,4,153,5],[152,6,153,6],[152,7,153,7],[152,8,153,8],[152,9,153,10],[152,11,153,11],[154,2,154,3],[154,4,154,5],[154,9,154,10],[155,2,155,3],[155,4,155,5],[155,9,155,10],[156,0,156,8],[156,9,156,10],[158,3,158,11],[159,0,159,11],[160,0,160,4],[160,5,160,9],[160,10,160,11],[161,0,163,0],[161,1,163,1],[161,2,163,3],[161,4,163,5],[161,6,163,6],[161,7,163,7],[161,8,161,11],[162,8,163,8],[162,9,163,10],[164,0,165,0],[164,1,165,1],[164,2,165,3],[164,4,165,5],[164,6,165,6],[164,7,165,7],[164,8,165,8],[164,9,165,10],[164,11,165,11],[166,2,166,3],[166,4,166,5],[166,9,166,10],[167,2,167,3],[167,4,167,5],[167,9,167,10],[168,0,169,0],[168,1,169,1],[168,2,169,3],[168,4,169,5],[168,6,169,6],[168,7,169,7],[168,8,169,8],[168,9,169,10],[168,11,169,11],[170,0,171,0],[170,1,171,1],[170,2,171,3],[170,4,171,5],[170,6,171,6],[170,7,171,7],[170,8,171,8],[170,9,171,10],[170,11,171,11],[172,0,173,0],[172,1,173,1],[172,2,173,3],[172,4,173,5],[172,6,173,6],[172,7,173,7],[172,8,173,8],[172,9,173,10],[172,11,173,11],[174,0,175,0],[174,1,175,1],[174,2,175,3],[174,4,175,5],[174,6,175,6],[174,7,175,7],[174,8,175,8],[174,9,175,10],[174,11,175,11],[176,0,176,8],[176,9,176,10],[178,3,178,11],[179,0,179,11],[180,0,180,4],[180,5,180,9],[180,10,180,11],[181,0,183,0],[181,1,183,1],[181,2,183,3],[181,4,183,5],[181,6,183,6],[181,7,183,7],[181,8,181,11],[182,8,183,8],[182,9,183,10],[184,0,185,0],[184,1,185,1],[184,2,185,3],[184,4,185,5],[184,6,185,6],[184,7,185,7],[184,8,185,8],[184,9,185,10],[184,11,185,11],[186,2,186,5],[186,9,186,10],[187,2,187,5],[187,9,187,10],[188,0,189,0],[188,1,189,1],[188,2,189,3],[188,4,189,5],[188,6,189,6],[188,7,189,7],[188,8,189,8],[188,9,189,10],[188,11,189,11],[190,2,190,5],[190,9,190,10],[191,2,191,5],[191,9,191,10],[192,0,193,0],[192,1,193,1],[192,2,193,3],[192,4,193,5],[192,6,193,6],[192,7,193,7],[192,8,193,8],[192,9,193,10],[192,11,193,11],[194,0,195,0],[194,1,195,1],[194,2,195,3],[194,4,195,5],[194,6,195,6],[194,7,195,7],[194,8,195,8],[194,9,195,10],[194,11,195,11],[196,2,196,3],[196,4,196,5],[196,9,196,10],[197,2,197,3],[197,4,197,5],[197,9,197,10],[198,2,198,3],[198,4,198,5],[198,9,198,10],[199,2,199,3],[199,4,199,5],[199,9,199,10],[200,0,200,8],[200,9,200,10],[202,3,202,11],[203,0,203,11],[204,0,204,4],[204,5,204,9],[204,10,204,11],[205,0,207,0],[205,1,207,1],[205,2,207,3],[205,4,207,5],[205,6,207,6],[205,7,207,7],[205,8,205,11],[206,8,207,8],[206,9,207,10],[208,0,214,0],[208,1,214,1],[208,2,214,3],[208,4,214,5],[208,6,214,6],[208,7,214,7],[208,8,214,8],[208,9,214,10],[208,11,214,11],[215,0,216,0],[215,1,216,1],[215,2,216,3],[215,4,216,5],[215,6,216,6],[215,7,216,7],[215,8,216,8],[215,9,216,10],[215,11,216,11],[217,2,217,3],[217,4,217,5],[217,9,217,10],[218,2,218,3],[218,4,218,5],[218,9,218,10],[219,2,219,3],[219,4,219,5],[219,9,219,10],[220,2,220,3],[220,4,220,5],[220,9,220,10],[221,0,221,8],[221,9,221,10],[223,3,223,11],[224,0,224,11],[225,0,225,4],[225,5,225,9],[225,10,225,11],[226,0,228,0],[226,1,228,1],[226,2,228,3],[226,4,228,5],[226,6,228,6],[226,7,228,7],[226,8,226,11],[227,8,228,8],[227,9,228,10],[229,0,230,0],[229,1,230,1],[229,2,230,3],[229,4,230,5],[229,6,230,6],[229,7,230,7],[229,8,230,8],[229,9,230,10],[229,11,230,11],[231,2,231,3],[231,4,231,5],[231,9,231,10],[232,2,232,3],[232,4,232,5],[232,9,232,10],[233,2,233,5],[233,9,233,10],[234,2,234,5],[234,9,234,10],[235,2,235,3],[235,4,235,5],[235,9,235,10],[236,2,236,5],[236,9,236,10],[237,2,237,3],[237,4,237,5],[237,9,237,10],[238,2,238,3],[238,4,238,5],[238,9,238,10],[239,2,239,3],[239,4,239,5],[239,9,239,10],[240,2,240,3],[240,4,240,5],[240,9,240,10],[241,2,241,3],[241,4,241,5],[241,9,241,10],[242,2,242,3],[242,4,242,5],[242,9,242,10],[243,2,243,3],[243,4,243,5],[243,9,243,10],[244,2,244,3],[244,4,244,5],[244,9,244,10],[245,2,245,3],[245,4,245,5],[245,9,245,10],[246,2,246,3],[246,4,246,5],[246,9,246,10],[247,2,247,3],[247,4,247,5],[247,9,247,10],[248,2,248,3],[248,4,248,5],[248,9,248,10],[249,2,249,3],[249,4,249,5],[249,9,249,10],[250,2,250,3],[250,4,250,5],[250,9,250,10],[251,2,251,3],[251,4,251,5],[251,9,251,10],[252,0,252,8],[252,9,252,10],[253,0,253,8],[253,9,253,10],[255,3,255,11]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：安装",{"$nulls":4},"标段：",{"$nulls":4},"第1页 共12页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
[null,null," 电气部分",{"$nulls":4},""]
["1","030404017001","配电箱",null,"1、名称：照明配电箱AL(pz30)\n2、压铜接线端子10mm2：5个\n3、无端子外部接线2.5mm2：27个\n4、无端子外部接线4mm2：3个\n5、安装方式：暗装,底边距地1.8米\n6、详见设计图纸和相关规范技术要求",null,"台","1"]
[]
["2","030404017002","配电箱",null,"1、名称：照明配电箱2AL(pz30)\n2、压铜接线端子10mm2：5个\n3、无端子外部接线2.5mm2：21个\n4、无端子外部接线4mm2：6个\n5、安装方式：暗装,底边距地1.8米\n6、详见设计图纸和相关规范技术要求",null,"台","1"]
[]
["3","030404017003","配电箱",null,"1、名称：应急照明配电箱AE\n2、安装方式：暗装,底边距地1.8\n3、详见设计图纸和相关规范技术要求",null,"台","1"]
["4","030412001001","普通灯具",null,"1、名称：吸顶节能灯\n2、型号：1x26W ~220V\n3、安装方式：吸顶安装\n4、详见设计图纸和相关规范技术要求",null,"套","12"]
[]
["5","030412005001","荧光灯",null,"1、名称：双管荧光灯 \n2、型号：2x36W ~220V\n3、安装形式：吊装,下沿距地2.8米\n4、详见设计图纸和相关规范技术要求",null,"套","37"]
[]
["6","030404034001","照明开关",null,"1、名称：单联单控开关\n2、规格：250V 10A \n3、安装方式：暗装\n4、详见设计图纸和相关规范技术要求",null,"个","11"]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：安装",{"$nulls":4},"标段：",{"$nulls":4},"第2页 共12页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["7","030404034002","照明开关",null,"1、名称：双联单控开关\n2、规格：250V 10A \n3、安装方式：暗装\n4、详见设计图纸和相关规范技术要求",null,"个","4"]
["8","030404034003","照明开关",null,"1、名称：三联单控开关\n2、规格：250V 10A \n3、安装方式：暗装\n4、详见设计图纸和相关规范技术要求",null,"个","7"]
["9","030404035001","插座",null,"1、名称：单相两、三孔插座\n2、规格：250V 10A\n3、安装方式：暗装\n4、详见设计图纸和相关规范技术要求",null,"个","38"]
["10","030404035002","插座",null,"1、名称：壁挂空调插座\n2、规格：250V 10A \n3、安装方式：暗装\n4、详见设计图纸和相关规范技术要求",null,"个","8"]
["11","030411006001","接线盒",null,"1、名称：灯头盒\n2、规格：塑料\n3、安装形式：暗装\n4、详见设计图纸和相关规范技术要求",null,"个","49"]
["12","030411006002","接线盒",null,"1、名称：开关盒、插座盒\n2、规格：塑料\n3、安装形式：暗装\n4、详见设计图纸和相关规范技术要求",null,"个","68"]
["13","030411001001","配管",null,"1、名称：钢管 \n2、规格：SC65\n3、配置形式：暗配\n4、详见设计图纸和相关规范技术要求",null,"m","7.86"]
["14","030411001002","配管",null,"1、名称：钢管 \n2、规格：SC40\n3、配置形式：暗配\n4、详见设计图纸和相关规范技术要求",null,"m","5.93"]
["15","030411001003","配管",null,"1、名称：钢管\n2、规格：SC20\n3、配置形式：暗配\n4、详见设计图纸和相关规范技术要求",null,"m","4.53"]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：安装",{"$nulls":4},"标段：",{"$nulls":4},"第3页 共12页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["16","030411001004","配管",null,"1、名称：电线管\n2、规格：PC40\n3、配置形式：暗配\n4、详见设计图纸和相关规范技术要求",null,"m","12.99"]
["17","030411001005","配管",null,"1、名称：电线管\n2、规格：PC25\n3、配置形式：暗配\n4、详见设计图纸和相关规范技术要求",null,"m","47.95"]
["18","030411001006","配管",null,"1、名称：电线管\n2、规格：PC20\n3、配置形式：暗配\n4、详见设计图纸和相关规范技术要求",null,"m","489.42"]
["19","030411004001","配线",null,"1、配线形式：管内穿线\n2、型号：NHBV-4\n3、详见设计图纸和相关规范技术要求",null,"m","20.18"]
["20","030411004002","配线",null,"1、配线形式：管内穿线\n2、型号：BV-4\n3、详见设计图纸和相关规范技术要求",null,"m","153.76"]
["21","030411004003","配线",null,"1、配线形式：管内穿线\n2、型号：BV-2.5\n3、详见设计图纸和相关规范技术要求",null,"m","1530.71"]
["22","030408001001","电力电缆",null,"1、名称：电力电缆\n2、型号：YJV-5*10\n3、详见设计图纸和相关规范技术要求",null,"m","11.28"]
["23","031002003001","套管",null,"1、名称、类型：刚性防水套管\n2、规格：DN65-DN65\n3、填料材质：嵌缝油膏\n4、详见设计图纸和相关规范技术要求",null,"个","1"]
[]
["24","010101003001","挖沟槽土方",null,"1、土壤类别:三类土\n2、挖土深度:暂按2m 内（投标方自行考虑）\n3、详见设计图纸和相关规范技术要求",null,"m3","0.96"]
["25","010103001001","回填方",null,"1、密实度要求:夯填\n2、详见设计图纸和相关规范技术要求",null,"m3","0.96"]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：安装",{"$nulls":4},"标段：",{"$nulls":4},"第4页 共12页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["26","030409005001","避雷网",null,"1、名称：避雷带\n2、材质：热镀锌圆钢\n3、规格：Φ10\n4、安装形式：沿支架",null,"m","137.37"]
["27","030409003001","避雷引下线",null,"1、名称：利用柱内对角的主筋作引下线（＞Φ16）\n2、断接卡子：2个\n3、柱主筋与圈梁钢筋焊接：5处",null,"m","37.5"]
["28","030409004001","均压环",null,"1、名称：通长闭合焊接二根Φ16基础主筋(下层)作为接地装置 \n2、详见设计图纸和相关规范技术要求",null,"m","86.35"]
["29","030409008001","等电位端子箱、测试板",null,"1、名称：总等电位箱\n2、详见设计图纸和相关规范技术要求",null,"台(块)","1"]
["30","030411001007","配管",null,"1、名称：塑料管\n2、规格：PC25\n3、配置形式：暗配\n4、详见设计图纸和相关规范技术要求",null,"m","5"]
["31","030411004004","配线",null,"1、配线形式：管内穿线\n2、型号：BV-25\n3、详见设计图纸和相关规范技术要求",null,"m","5.5"]
["32","030409002001","接地母线",null,"1、名称：户内接地母线\n2、材质：热镀锌扁钢\n3、规格：40*4\n4、详见设计图纸和相关规范技术要求",null,"m","10.39"]
[]
["33","030414011001","接地装置",null,"1、名称：接地系统调试",null,"系统","1"]
[null,null,"分部小计",{"$nulls":4},""]
[null,null," 弱电系统",{"$nulls":4},""]
["34","030404017004","配电箱",null,"1、名称：综合布线箱\n2、规格尺寸：600*700*150，室外防雨型 IP54\n3、安装方式：明挂,底边距地1.6米\n4、详见设计图纸和相关规范技术要求",null,"台","1"]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：安装",{"$nulls":4},"标段：",{"$nulls":4},"第5页 共12页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["35","030411001008","配管",null,"1、名称：钢管\n2、规格：SC20\n3、配置形式：暗配\n4、详见设计图纸和相关规范技术要求",null,"m","17.63"]
["36","030411001009","配管",null,"1、名称：电线管\n2、规格：PC25\n3、配置形式：暗配\n4、详见设计图纸和相关规范技术要求",null,"m","67.39"]
["37","030411001010","配管",null,"1、名称：电线管\n2、规格：PC20\n3、配置形式：暗配\n4、详见设计图纸和相关规范技术要求",null,"m","60.94"]
["38","030411006003","接线盒",null,"1、名称：接线盒\n2、材质：塑料\n3、安装形式：暗装\n4、详见设计图纸和相关规范技术要求",null,"个","16"]
["39","030404034004","照明开关",null,"1、名称：空白面板\n2、详见设计图纸和相关规范技术要求",null,"个","16"]
["40","030411004005","配线",null,"1、名称：管内预留铁丝\n2、详见设计图纸和相关规范技术要求",null,"m","145.96"]
["41","010101003002","挖沟槽土方",null,"1、土壤类别:三类土\n2、挖土深度:暂按2m 内（投标方自行考虑）\n3、详见设计图纸和相关规范技术要求",null,"m3","1.2"]
["42","010103001002","回填方",null,"1、密实度要求:夯填\n2、详见设计图纸和相关规范技术要求",null,"m3","1.2"]
[null,null,"分部小计",{"$nulls":4},""]
[null,null," 给排水部分",{"$nulls":4},""]
["43","031001007001","复合管",null,"1、安装部位：室内\n2、介质：给水\n3、材质、规格、压力等级：衬塑钢管DN25，1.6mpa\n4、连接形式：螺纹连接\n5、压力试验及吹、洗设计要求：水冲洗消毒\n6、详见设计图纸和相关规范技术要求",null,"m","1.56"]
[]
["本页小计"]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：安装",{"$nulls":4},"标段：",{"$nulls":4},"第6页 共12页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["44","031001007002","复合管",null,"1、安装部位：室内\n2、介质：给水\n3、材质、规格、压力等级：衬塑钢管DN20，1.6mpa\n4、连接形式：螺纹连接\n5、压力试验及吹、洗设计要求：水冲洗消毒\n6、详见设计图纸和相关规范技术要求",null,"m","8.49"]
[]
["45","031001006001","塑料管",null,"1、安装部位：室内\n2、介质：给水\n3、材质、规格：PPR管 DN20，1.2mpa\n4、连接形式：热熔连接\n5、压力试验及吹、洗设计要求：水冲洗消毒",null,"m","14.75"]
[]
["46","031001006002","塑料管",null,"1、安装部位：室内\n2、介质：给水\n3、材质、规格、压力等级：PPR管DN15，1.2mpa\n4、连接形式：热熔连接\n5、压力试验及吹、洗设计要求：水冲洗消毒\n6、详见设计图纸和相关规范技术要求",null,"m","5.38"]
[]
["47","031002003002","套管",null,"1、名称、类型：一般填料套管制安\n2、规格：DN20-DN32\n3、填料材质：阻燃密实材料和防水油膏\n4、详见设计图纸和相关规范技术要求",null,"个","3"]
[]
["48","031003001001","螺纹阀门",null,"1、类型：止回阀\n2、规格、压力等级：DN25\n3、连接形式：螺纹连接\n4、详见设计图纸和相关规范技术要求",null,"个","1"]
[]
["49","031003013001","水表",null,"1、类型：远传水表 \n2、规格、压力等级：DN25\n3、连接形式：螺纹连接\n4、详见设计图纸和相关规范技术要求",null,"组","1"]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：安装",{"$nulls":4},"标段：",{"$nulls":4},"第7页 共12页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["50","031003001002","螺纹阀门",null,"1、类型：铜芯截止阀\n2、规格、压力等级：DN20\n3、连接形式：螺纹连接\n4、详见设计图纸和相关规范技术要求",null,"个","2"]
[]
["51","031003001003","螺纹阀门",null,"1、类型：铜芯截止阀\n2、规格、压力等级：DN15\n3、连接形式：螺纹连接\n4、详见设计图纸和相关规范技术要求",null,"个","2"]
[]
["52","031003001004","螺纹阀门",null,"1、类型：自动排气阀\n2、规格、压力等级：DN15\n3、连接形式：法兰连接\n4、详见设计图纸和相关规范技术要求",null,"个","1"]
[]
["53","010101003003","挖沟槽土方",null,"1、土壤类别:三类土\n2、挖土深度:暂按2m 内（投标方自行考虑）\n3、详见设计图纸和相关规范技术要求",null,"m3","1.09"]
["54","010103001003","回填方",null,"1、密实度要求:夯填\n2、详见设计图纸和相关规范技术要求",null,"m3","1.09"]
["55","010401011001","砖检查井",null,"1、名称：水表井\n2、详见设计图纸和相关规范技术要求",null,"座","1"]
["56","031001006003","塑料管",null,"1、安装部位：室内\n2、介质：排水\n3、材质、规格：UPVC管DN100\n4、连接形式：专用胶承插粘\n5、详见设计图纸和相关规范技术要求",null,"m","2.99"]
[]
["57","031001006004","塑料管",null,"1、安装部位：室内 \n2、介质：排水\n3、材质、规格：UPVC管DN75\n4、连接形式：专用胶承插粘\n5、详见设计图纸和相关规范技术要求",null,"m","18.72"]
[]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：安装",{"$nulls":4},"标段：",{"$nulls":4},"第8页 共12页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["58","031001006005","塑料管",null,"1、安装部位：室内\n2、介质：排水\n3、材质、规格：UPVC管DN50\n4、连接形式：专用胶承插粘\n5、详见设计图纸和相关规范技术要求",null,"m","9.06"]
[]
["59","031004014001","给、排水附（配）件",null,"1、材质：地漏\n2、型号、规格：DN50\n3、详见设计图纸和相关规范技术要求",null,"个","2"]
["60","031004006001","大便器",null,"1、材质：低水箱坐式大便器\n2、规格、类型：成套式\n3、详见图集09S304及设计图纸和相关规范技术要求",null,"组","1"]
[]
["61","031004003001","洗脸盆",null,"1、材质：感应式洗脸盆\n2、附件名称、数量：感应式水龙头\n3、详见图集09S304及设计图纸和相关规范技术要求",null,"组","2"]
[]
["62","031004004001","洗涤盆",null,"1、材质：拖布池\n2、附件名称、数量：水龙头\n3、详见图集09S304及设计图纸和相关规范技术要求",null,"组","1"]
["63","031002003003","套管",null,"1、名称、类型：钢性防水套管\n2、规格：DN100-DN100\n3、填料材质：阻燃密实材料和防水油膏填实\n4、详见设计图纸和相关规范技术要求",null,"个","1"]
[]
["64","031002003004","套管",null,"1、名称、类型：钢性防水套管\n2、规格：DN75-DN75\n3、填料材质：阻燃密实材料和防水油膏填实\n4、详见设计图纸和相关规范技术要求",null,"个","2"]
[]
[]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：安装",{"$nulls":4},"标段：",{"$nulls":4},"第9页 共12页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["65","031002003005","套管",null,"1、名称、类型：一般填料套管制安\n2、规格：DN75-DN125\n3、填料材质：阻燃密实材料和防水油膏\n4、详见设计图纸和相关规范技术要求",null,"个","1"]
[]
["66","010101003004","挖沟槽土方",null,"1、土壤类别:三类土\n2、挖土深度:暂按2m 内（投标方自行考虑）\n3、详见设计图纸和相关规范技术要求",null,"m3","1.68"]
["67","010103001004","回填方",null,"1、密实度要求:夯填\n2、详见设计图纸和相关规范技术要求",null,"m3","1.68"]
["68","010902004001","屋面排水管",null,"1、安装部位：室内\n2、介质：雨水\n3、材质、规格：抗紫外线加强型U-PVC管DN100\n4、连接形式：承插连接，专用胶粘接\n5、87型雨水斗5个\n6、详见设计图纸和相关规范技术要求",null,"m","35.5"]
[]
["69","031001006006","塑料管",null,"1、安装部位：室内（空调立管预埋）（出屋面端头设防雨弯头）\n2、介质：空调水\n3、材质、规格：UPVC管DN150\n4、连接形式：专用胶承插粘\n5、详见设计图纸和相关规范技术要求",null,"m","3.2"]
[]
["70","031001006007","塑料管",null,"1、安装部位：室内\n2、介质：冷凝水\n3、材质、规格：UPVC管DN50\n4、连接形式：专用胶承插粘\n5、详见设计图纸和相关规范技术要求",null,"m","27.2"]
[]
["71","031001006008","塑料管",null,"1、安装部位：室内\n2、介质：冷凝水\n3、材质、规格：UPVC管DN25\n4、连接形式：专用胶承插粘\n5、详见设计图纸和相关规范技术要求",null,"m","0.64"]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：安装",{"$nulls":4},"标段：",{"$nulls":4},"第10页 共12页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["72","031002003006","套管",null,"1、名称、类型：一般填料套管制安\n2、规格：DN50-DN80\n3、填料材质：阻燃密实材料和防水油膏\n4、详见设计图纸和相关规范技术要求",null,"个","4"]
[]
[null,null,"分部小计",{"$nulls":4},""]
[null,null," 灭火器",{"$nulls":4},""]
["73","030901013001","灭火器",null,"1、形式：放置式\n2、规格、型号：MF/ABC3\n3、放置在灭火器箱内\n4、详见设计图纸和相关规范技术要求",null,"个","18"]
[]
[null,null,"分部小计",{"$nulls":4},""]
[null,null," 通风空调",{"$nulls":4},""]
["74","030108003001","轴流通风机",null,"1、名称：低噪声壁式轴流风机\n2、参考型号：XBDZ-2.5\n3、参数：风量600m/h3，全压40Pa，功率0.025kw\n4、安装方式：壁挂\n5、详见设计图纸和相关规范技术要求",null,"台","1"]
[]
["75","030108003002","轴流通风机",null,"1、名称：低噪声壁式轴流风机\n2、参考型号：XBDZ-2.5\n3、参数：风量800m/h3，全压42Pa，功率0.025kw\n4、安装方式：壁挂\n5、详见设计图纸和相关规范技术要求",null,"台","2"]
[]
["76","030703007001","碳钢风口、散流器、百叶窗",null,"1、名称：防雨百叶 （内\n附防虫网）\n2、规格：400*400\n3、详见设计图纸和相关规范技术要求",null,"个","3"]
["77","030704001001","通风工程检测、调试",null,"1、通风系统调试",null,"系统","1"]
["78","03B001","生物除臭",null,"1、处理气量10000m³/h（包安装）",null,"项","1"]
["79","03B002","流量计",null,"1、电磁流量计\n2、 管径DN300（包安装）",null,"个","10"]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：安装",{"$nulls":4},"标段：",{"$nulls":4},"第11页 共12页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["80","03B003","自动化控制",null,"1 、柜体\n2 、断路器\n3 、交流接触器\n4 、电压转换开关\n5、 电流互感器\n6 、电压变送器\n7 、电流变送器\n8 、热过载继电器\n9 、按钮\n10、 指示灯\n11、 断路器\n12、 继电器\n13、 开关电源\n14、 CPU200CN AC/DC/PLC\n15、 数字量模块\n16、 模拟量输入模块\n17、 6ES972 网络总线连接器\n18、 触摸屏\n19、 物联网模块\n20、 端子\n21、 4G大流量卡\n22、 辅料柜内电缆、接头附件\n23、 插座3孔/2孔\n24、 软启动器\n25、 超声波液位计\n26、 信号电缆\n27、 PVC管\n28、 安装调试费 \n29、 软件费\n30、 球形摄像机\n31、 枪机\n32、 室外网线\n33、 硬盘录像机\n34、 电源线\n（包安装）",null,"项","1"]
[]
[]
[]
[]
[]
[]
["81","03B004","自动化高低压控制柜",null,"1 \"计量柜800*600*2200\n2 \" 高压柜800*600*2200\n3 \"开关柜800*600*2200\n（包安装）",null,"项","1"]
[]
[]
[]
[]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：安装",{"$nulls":4},"标段：",{"$nulls":4},"第12页 共12页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["82","03B005","中控室设备",null,"1、台式工作站\n2、显示器27寸\n3、亚控软件6000点\n4、4G大流量卡\n5、物联网模块\n6、交换机\n7、大屏幕\n8、网络机柜\n9、操作台\n10、防静电地板\n（包安装）",null,"项","1"]
[]
["83","03B006","电缆",null,"1、YZC3*35+1\n2、RVVP15*1.5\n3、穿线管\n4、绝缘胶垫\n5、 铺电缆\n（包安装）",null,"项","1"]
["84","03B007","暂列金",null,"1、不可预见\n2、以工程实际发生为准",null,"项","1",{"$nulls":3},40000]
[null,null,"分部小计",{"$nulls":4},""]
[null,null,"分部分项合计",{"$nulls":4},""]
["1","031301017001","脚手架搭拆",{"$nulls":3},"项","1"]
[null,null,"单价措施合计",{"$nulls":4},""]
{"$rows_empty":15}
["本页小计"]
["合    计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]

{"sheet":"4.2 表-11 总价措施项目清单与计价表","index":7,"n_rows":45,"n_cols":14,"rows_kept":45,"merged":[[0,0,0,14],[1,0,1,6],[1,7,1,11],[1,12,1,14],[2,2,2,4],[2,6,2,7],[2,8,2,9],[2,11,2,12],[2,13,2,14],[3,2,3,4],[3,6,3,7],[3,8,3,9],[3,11,3,12],[3,13,3,14],[4,2,4,4],[4,6,4,7],[4,8,4,9],[4,11,4,12],[4,13,4,14],[5,2,5,4],[5,6,5,7],[5,8,5,9],[5,11,5,12],[5,13,5,14],[6,2,6,4],[6,6,6,7],[6,8,6,9],[6,11,6,12],[6,13,6,14],[7,2,7,4],[7,6,7,7],[7,8,7,9],[7,11,7,12],[7,13,7,14],[8,2,8,4],[8,6,8,7],[8,8,8,9],[8,11,8,12],[8,13,8,14],[9,2,9,4],[9,6,9,7],[9,8,9,9],[9,11,9,12],[9,13,9,14],[10,2,10,4],[10,6,10,7],[10,8,10,9],[10,11,10,12],[10,13,10,14],[11,2,11,4],[11,6,11,7],[11,8,11,9],[11,11,11,12],[11,13,11,14],[12,2,12,4],[12,6,12,7],[12,8,12,9],[12,11,12,12],[12,13,12,14],[13,2,13,4],[13,6,13,7],[13,8,13,9],[13,11,13,12],[13,13,13,14],[14,2,14,4],[14,6,14,7],[14,8,14,9],[14,11,14,12],[14,13,14,14],[15,2,15,4],[15,6,15,7],[15,8,15,9],[15,11,15,12],[15,13,15,14],[16,0,16,14],[17,3,17,14],[18,0,18,3],[18,9,18,13],[19,0,19,14],[20,0,20,6],[20,7,20,11],[20,12,20,14],[21,2,21,4],[21,6,21,7],[21,8,21,9],[21,11,21,12],[21,13,21,14],[22,2,22,4],[22,6,22,7],[22,8,22,9],[22,11,22,12],[22,13,22,14],[23,0,24,0],[23,1,24,1],[23,2,24,4],[23,5,24,5],[23,6,24,7],[23,8,24,9],[23,10,24,10],[23,11,24,12],[23,13,24,14],[25,0,27,0],[25,1,27,1],[25,2,27,4],[25,5,27,5],[25,6,27,7],[25,8,27,9],[25,10,27,10],[25,11,27,12],[25,13,27,14],[28,2,28,4],[28,6,28,7],[28,8,28,9],[28,11,28,12],[28,13,28,14],[29,2,29,4],[29,6,29,7],[29,8,29,9],[29,11,29,12],[29,13,29,14],[30,2,30,4],[30,6,30,7],[30,8,30,9],[30,11,30,12],[30,13,30,14],[31,2,31,4],[31,6,31,7],[31,8,31,9],[31,11,31,12],[31,13,31,14],[32,2,32,4],[32,6,32,7],[32,8,32,9],[32,11,32,12],[32,13,32,14],[33,2,33,4],[33,6,33,7],[33,8,33,9],[33,11,33,12],[33,13,33,14],[34,2,34,4],[34,6,34,7],[34,8,34,9],[34,11,34,12],[34,13,34,14],[35,2,35,4],[35,6,35,7],[35,8,35,9],[35,11,35,12],[35,13,35,14],[36,2,36,4],[36,6,36,7],[36,8,36,9],[36,11,36,12],[36,13,36,14],[37,2,37,4],[37,6,37,7],[37,8,37,9],[37,11,37,12],[37,13,37,14],[38,2,38,4],[38,6,38,7],[38,8,38,9],[38,11,38,12],[38,13,38,14],[39,2,39,4],[39,6,39,7],[39,8,39,9],[39,11,39,12],[39,13,39,14],[40,2,40,4],[40,6,40,7],[40,8,40,9],[40,11,40,12],[40,13,40,14],[41,2,41,4],[41,6,41,7],[41,8,41,9],[41,11,41,12],[41,13,41,14],[42,0,42,14],[43,3,43,14],[44,0,44,3],[44,9,44,13]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称：安装",{"$nulls":6},"标段：",{"$nulls":4},"第1页 共2页"]
["序号","项目编码","项目名称",null,null,"计算基础","费率（%）",null,"金额（元）",null,"调整费率（%）","调整后金额（元）",null,"备注"]
["1","031302001001","安全文明施工费",{"$nulls":3},""]
["1.1",null,"基本费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","1.500"]
["1.2",null,"增加费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["1.3",null,"扬尘污染防治增加费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","0.210"]
["2","031302002001","夜间施工增加",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["3","031302003001","非夜间施工增加",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["4","031302004001","二次搬运",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["5","031302005001","冬雨季施工增加",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["6","031302006001","已完工程及设备保护",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["7","031302008001","临时设施",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["8","031302009001","赶工措施",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
[]
[]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":8},"复核人（造价工程师）："]
["总价措施项目清单与计价表"]
["工程名称：安装",{"$nulls":6},"标段：",{"$nulls":4},"第2页 共2页"]
["序号","项目编码","项目名称",null,null,"计算基础","费率（%）",null,"金额（元）",null,"调整费率（%）","调整后金额（元）",null,"备注"]
["9","031302010001","工程按质论价",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["10","031302011001","住宅分户验收",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","",{"$nulls":6},"在计取住宅分户验收时，大型土石方工程、桩基工程和地下室部分不计入计费基础"]
[]
["11","031302012001","建筑工人实名制费用",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","",{"$nulls":6},"建筑工人实名制设备由建筑工人工资专用账户开户银行提供的，建筑工人实名制费用按表中费率乘以0.5系数计取"]
[]
[]
["12","031302090001","地上、地下设施、建筑物的临时保护设施",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["13","031302091001","特殊条件下施工增加费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
{"$rows_empty":13}
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":8},"复核人（造价工程师）："]

{"sheet":"4.3 表-12 其他项目清单与计价汇总表","index":8,"n_rows":44,"n_cols":8,"rows_kept":44,"merged":[[0,0,0,7],[1,0,1,3],[1,4,1,6],[2,1,2,2],[2,3,2,4],[2,6,2,7],[3,1,3,2],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,3,4,4],[4,6,4,7],[5,1,5,2],[5,3,5,4],[5,6,5,7],[6,1,6,2],[6,3,6,4],[6,6,6,7],[7,1,7,2],[7,3,7,4],[7,6,7,7],[8,1,8,2],[8,3,8,4],[8,6,8,7],[9,1,9,2],[9,3,9,4],[9,6,9,7],[10,1,10,2],[10,3,10,4],[10,6,10,7],[11,1,11,2],[11,3,11,4],[11,6,11,7],[12,1,12,2],[12,3,12,4],[12,6,12,7],[13,1,13,2],[13,3,13,4],[13,6,13,7],[14,1,14,2],[14,3,14,4],[14,6,14,7],[15,1,15,2],[15,3,15,4],[15,6,15,7],[16,1,16,2],[16,3,16,4],[16,6,16,7],[17,1,17,2],[17,3,17,4],[17,6,17,7],[18,1,18,2],[18,3,18,4],[18,6,18,7],[19,1,19,2],[19,3,19,4],[19,6,19,7],[20,1,20,2],[20,3,20,4],[20,6,20,7],[21,1,21,2],[21,3,21,4],[21,6,21,7],[22,1,22,2],[22,3,22,4],[22,6,22,7],[23,1,23,2],[23,3,23,4],[23,6,23,7],[24,1,24,2],[24,3,24,4],[24,6,24,7],[25,1,25,2],[25,3,25,4],[25,6,25,7],[26,1,26,2],[26,3,26,4],[26,6,26,7],[27,1,27,2],[27,3,27,4],[27,6,27,7],[28,1,28,2],[28,3,28,4],[28,6,28,7],[29,1,29,2],[29,3,29,4],[29,6,29,7],[30,1,30,2],[30,3,30,4],[30,6,30,7],[31,1,31,2],[31,3,31,4],[31,6,31,7],[32,1,32,2],[32,3,32,4],[32,6,32,7],[33,1,33,2],[33,3,33,4],[33,6,33,7],[34,1,34,2],[34,3,34,4],[34,6,34,7],[35,1,35,2],[35,3,35,4],[35,6,35,7],[36,1,36,2],[36,3,36,4],[36,6,36,7],[37,1,37,2],[37,3,37,4],[37,6,37,7],[38,1,38,2],[38,3,38,4],[38,6,38,7],[39,1,39,2],[39,3,39,4],[39,6,39,7],[40,1,40,2],[40,3,40,4],[40,6,40,7],[41,0,41,2],[41,3,41,4],[41,6,41,7],[43,2,43,7]],"flags":["formulas_cached_only"]}
["其他项目清单与计价汇总表"]
["工程名称：安装",{"$nulls":3},"标段：",null,null,"第1页 共1页"]
["序号","项目名称",null,"金额(元)",null,"结算金额(元)","备注"]
["1","暂列金额",null,""]
["2","暂估价",null,""]
["2.1","材料暂估价",null,""]
["2.2","专业工程暂估价",null,""]
["3","计日工",null,""]
["4","总承包服务费",null,""]
{"$rows_empty":32}
["合  计",null,null,""]
[]
[null,null,"【新点2013清单造价江苏版 V10.3.5】"]

{"sheet":"4.4 表-13 规费、税金项目计价表","index":9,"n_rows":35,"n_cols":11,"rows_kept":35,"merged":[[0,0,0,11],[1,0,1,4],[1,5,1,8],[1,9,1,11],[2,1,2,2],[2,3,2,5],[2,6,2,7],[2,8,2,9],[2,10,2,11],[3,1,3,2],[3,3,3,5],[3,6,3,7],[3,8,3,9],[3,10,3,11],[4,1,4,2],[4,3,4,5],[4,6,4,7],[4,8,4,9],[4,10,4,11],[5,1,5,2],[5,3,5,5],[5,6,5,7],[5,8,5,9],[5,10,5,11],[6,1,6,2],[6,3,6,5],[6,6,6,7],[6,8,6,9],[6,10,6,11],[7,1,7,2],[7,3,7,5],[7,6,7,7],[7,8,7,9],[7,10,7,11],[8,1,8,2],[8,3,8,5],[8,6,8,7],[8,8,8,9],[8,10,8,11],[9,1,9,2],[9,3,9,5],[9,6,9,7],[9,8,9,9],[9,10,9,11],[10,1,10,2],[10,3,10,5],[10,6,10,7],[10,8,10,9],[10,10,10,11],[11,1,11,2],[11,3,11,5],[11,6,11,7],[11,8,11,9],[11,10,11,11],[12,1,12,2],[12,3,12,5],[12,6,12,7],[12,8,12,9],[12,10,12,11],[13,1,13,2],[13,3,13,5],[13,6,13,7],[13,8,13,9],[13,10,13,11],[14,1,14,2],[14,3,14,5],[14,6,14,7],[14,8,14,9],[14,10,14,11],[15,1,15,2],[15,3,15,5],[15,6,15,7],[15,8,15,9],[15,10,15,11],[16,1,16,2],[16,3,16,5],[16,6,16,7],[16,8,16,9],[16,10,16,11],[17,1,17,2],[17,3,17,5],[17,6,17,7],[17,8,17,9],[17,10,17,11],[18,1,18,2],[18,3,18,5],[18,6,18,7],[18,8,18,9],[18,10,18,11],[19,1,19,2],[19,3,19,5],[19,6,19,7],[19,8,19,9],[19,10,19,11],[20,1,20,2],[20,3,20,5],[20,6,20,7],[20,8,20,9],[20,10,20,11],[21,1,21,2],[21,3,21,5],[21,6,21,7],[21,8,21,9],[21,10,21,11],[22,1,22,2],[22,3,22,5],[22,6,22,7],[22,8,22,9],[22,10,22,11],[23,1,23,2],[23,3,23,5],[23,6,23,7],[23,8,23,9],[23,10,23,11],[24,1,24,2],[24,3,24,5],[24,6,24,7],[24,8,24,9],[24,10,24,11],[25,1,25,2],[25,3,25,5],[25,6,25,7],[25,8,25,9],[25,10,25,11],[26,1,26,2],[26,3,26,5],[26,6,26,7],[26,8,26,9],[26,10,26,11],[27,1,27,2],[27,3,27,5],[27,6,27,7],[27,8,27,9],[27,10,27,11],[28,1,28,2],[28,3,28,5],[28,6,28,7],[28,8,28,9],[28,10,28,11],[29,1,29,2],[29,3,29,5],[29,6,29,7],[29,8,29,9],[29,10,29,11],[30,1,30,2],[30,3,30,5],[30,6,30,7],[30,8,30,9],[30,10,30,11],[31,0,31,9],[31,10,31,11],[33,2,33,11],[34,0,34,3],[34,7,34,10]],"flags":["formulas_cached_only"]}
["规费、税金项目计价表"]
["工程名称：安装",{"$nulls":4},"标段：",{"$nulls":3},"第1页 共1页"]
["序号","项目名称",null,"计算基础",null,null,"计算基数(元)",null,"计算费率(％)",null,"金额(元)"]
["1","规费",null,"环境保护税+社会保险费+住房公积金",{"$nulls":4},"100.000"]
["1.1","社会保险费",null,"分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},"2.400"]
["1.2","住房公积金",null,"分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},"0.420"]
["1.3","环境保护税",null,"分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},""]
["2","税金",null,"分部分项工程费+措施项目费+其他项目费+规费-除税甲供材料和甲供设备费/1.01",{"$nulls":4},"9.000"]
{"$rows_empty":23}
["合  计"]
[]
[null,null,"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":6},"复核人（造价工程师）："]